## Final in '000 (2)
Achieving Significant Cost Savings with PAM (£000)
| Annual cost (Present Value) | Present Value | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
In the absence of PAM
Purchase & Installation Cost |  | 963.243 | Year 0: 963.243
Annual maintenance cost* |  | 185.4209 |  | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757
Lost revenue due to downtime*** |  | 25.373 | Year 8: 7.5; Year 9: 7.5; Year 10: 7.5; Year 11: 7.5; Year 12: 7.5
Reactive service cost |  | 21.99 | Year 8: 6.5; Year 9: 6.5; Year 10: 6.5; Year 11: 6.5; Year 12: 6.5
Reputational risk and third-party compensation |  | 37.016 | Year 9: 27.375; Year 11: 27.375
Total | 102.7536 | 1233.0429 | 963.243 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 33.757 | 61.132 | 33.757 | 61.132 | 33.757
With the implementation of PAM
Purchase & Installation Cost |  | 963.243 | Year 0: 963.243
Annual maintenance cost ** |  | 263.5992 |  | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084
Total | 81.7895 | 1226.8422 | 963.243 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084
Annual cost saving | 20.9641
Annual cost saving % | 20.4%
Notes
Calculation is based on Mitsubishi Multi City HVRF
Discount rate: 4%
* Based on 3 maintenance visits per year @ $19,757/ year. Std. life expectancy of the asset : 12 years
**Under PAM: the asset 's useful life is extended by 25% and the maintenance cost will increase 20%
*** Expected downtime in the absence of PAM = Once a year from Y8 to Y12. 1.5 day per year
Reactive service cost : one additional maintenance call per year from Y8 TO Y12. Reputation and third party compensation risk: 1.5% of the annual revenue.
Calculation
Lost revenue : Y8-Y12, 1.5 day 25% of the capacity on the building (200 x 25x 365) | 7500
Reputation and third party compensation risk: 1.5% of the annual revenue. | 27375

## Sheet1
| Cost of downtime | = | (Duration X Impact on produstion) + Repairs + Lost Sales + Lost Customer reputation | [5 empty] | Mission-critical spaces: If the system serves mission-critical spaces, it may need to be in good working order at all times.
Mitsubishi City Multi VRF air conditioning system
|  |  | Standard life expectanc | 12 | Years |  |  |  |  | 0
|  |  | Cost reduction | 11%
|  |  | safety, health, environmen & quality - SHEQ | 8%
|  |  | Extending the lifetime of asset | 7%
|  |  | Improve customer satisfaction | 12%
Additionally, the following objectives can be fulfi lled: cost reduction (11%), risk reduction associated with safety, health,environment, and quality (SHEQ) (8%), extending the lifetime of assets (7%) and improving customer satisfaction (12%).
The biggest savings from predictive maintenance, however, come from
reduced downtime
|  |  | Cost of the unit | 12000 |  | Cost of preventative maintenance | 3 X 500 | 1500
|  |  | Cost per maintenance | 500 |  | Number of expected incidents
|  |  | Expected life | 12
|  |  | Extended | 15
|  |  | Downtime during the life of the asset | 3 |  | Savings due to extended life | = annual cost of running X extended life -PA cost
Compensation to Third Parties
Number of expected incidents
Savings

## Sheet2
HVRF utilises lower GWP R32 refrigerant, which reduces the environmental impact of HVAC systems. Using HVRF can help clients reach
their Corporate Social Responsibility targets by contributing to a cleaner environment.
R32 has 65% lower GWP and up to 80% CO2 reduction compared to R410A.
A Mitsubishi City Multi VRF air conditioning system can have a life expectancy of 10–15 years, but this can vary depending on a number of
factors:
Maintenance: Regular maintenance can help extend the life of the system.
Run time: How many hours per day the system is running can affect its lifespan.
Proximity to contaminants: How close the system is to corrosive contaminants can impact its lifespan.
Repairs and retrofits: Whether the system has had any major repairs or retrofits can affect its lifespan.
Mission-critical spaces: If the system serves mission-critical spaces, it may need to be in good working order at all times.
A VRF, or Variable Refrigerant Flow, system uses an outdoor condensing unit connected to multiple indoor units by piping to provide heating
or cooling. The refrigerant is recycled between the units.
To help your HVAC system last longer, you can:
Change the air filters every 30–90 days.
Schedule tune-ups twice a
Realise Significant Maintenance Cost Reductions
Throughout a system’s lifetime, annual testing and the recalibration of leak detection sensors adds significant cost to a VRF system. Using
Hybrid VRF instead, minimises this need and could provide as much as 30% in maintenance savings over 15 years.
Additionally, the following objectives can be fulfi lled: cost reduction (11%), risk reduction associated with safety, health,environment, and quality (SHEQ) (8%), extending the lifetime of assets (7%) and improving customer satisfaction (12%).
The biggest savings from predictive maintenance, however, come from
reduced downtime

## Sheet3
HVAC System |  |  |  | $
| Mitsubishi Multi City HVRF |  |  | 963243
| Maintenance - 4 visits / year | 19757
| r=4% life time 12 years | =c((1-(1+i)^-n)/I)
| PV of maintenance for 12 years |  |  | 185420.9023
|  |  |  | 1148663.9023 |  |  |  |  | In the absense of PAM | Under Predecitve Asset Maintenance (PAM)
|  |  | Annual cost | 95721.9919 |  | Purchase & Installation Cost
[7 empty] | Mitsubishi Multi City HVRF |  | 963243 | 963243 |  | 80270.25 | 64216.2
| Cost of down time / day | 6000
| (Downtime starts in Y7-Y12) |  |  |  |  | Maintenance cost over 12 years
| Reactive maintenance - Y7-Y12 one call per year at $6500/ visit | [5 empty] | PV of annual mintenance cost* |  | 185420.9023 |  | 78178.2743
Cost of PM ( std service cosr X 1.2)
Maintenance cost over 15 years**
[7 empty] | PV of annual Predective Maintenance cost |  |  | 263599.1766
[6 empty] | Other significant Savings*** | [6 empty] | T8 | T9 | T10 | T11 | T12
The following costs are prevented under PAM
[7 empty] | Lost sales due to downtime |  | 30000 | 0 |  |  | 6000 | 6000 | 6000 | 6000 | 6000
[7 empty] | Reactive service cost |  | 20298.1145 | 0 |  |  | 4384.1412 | 4215.5204 | 4053.385 | 3897.4856 | 3747.5823
[7 empty] | Reputation risk and third party compensation |  | 31075.9518 | 0 |  |  |  |  | 31075.9518
240810.75
[8 empty] | Total Cost | 1230037.9686 | 1226842.1766
[8 empty] | Annual cost 12years / 15 years | 102503.164 | 81789.4784
20713.6856
20.21%
Interest 4%
Ntes
* Based on 3 maintenance visits per year @ $19,757/ year.
Expected life of the asset in the absense of PAM IS 12 years
**Under PAM, the asset 's useful life is extended by 25%
PAM maintenace will cost 20% more than std. maintenance
*** Expected downtime in the absence of PAM = Once a year from Y8 to Y12.
Lost revenue 6000/day - assumed once a year from Y8-Y12.
Reative service cost $6000/visit once every year from year 8- year 12
Reputation and 3 part compensation 30k in Y10

## FINAL
| Annual cost | Net Present Value | Year 0 |  | Year 1 |  | Year 2 |  | Year 3 |  | Year 4 |  | Year 5 |  | Year 6 |  | Year 7 |  | Year 8 | Year 9
| Annual cost (Present Value) | Total cost (Present Value) | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
In the absence of PAM | £ | £ | bar: Year 0 to Year 15
Purchase & Installation Cost |  | 963243 | Year 0: 963243
Annual maintenance cost* |  | 185420.9023 |  | 19757 | 19757 | 19757 | 19757 | 19757 | 19757 | 19757 | 19757 | 19757 | 19757 | 19757 | 19757
Lost revenue due to downtime*** |  | 25373 | Year 8: 7500; Year 9: 7500; Year 10: 7500; Year 11: 7500; Year 12: 7500
Reactive service cost |  | 21990 | Year 8: 6500; Year 9: 6500; Year 10: 6500; Year 11: 6500; Year 12: 6500
Reputational risk and third-party compensation |  | 37016 | Year 9: 27375; Year 11: 27375
Total | 102753.5752 | 1233042.9023
With the implementation of PAM
Purchase & Installation Cost |  | 963243 | Year 0: 963243
Annual maintenance cost ** |  | 263599.1766 |  | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4 | 23708.4
| 81789.4784 | 1226842.1766
Annual cost saving | 20964.0968
Annual cost saving % | 20.4%
Interest 4%
Notes
Discount rate: 4%
* Based on 3 maintenance visits per year @ $19,757/ year.
Life expectancy of the asset : 12 years
**Under PAM, the asset 's useful life is extended by 25%
Under PAM, maintenance will cost 20% more than std. maintenance cost
*** Expected downtime in the absence of PAM = Once a year from Y8 to Y12.
1.5 day per year
Reactive service cost : one additional maintenance call per year from Y8 TO Y12.
Reputation and third party compensation risk: 1.5% of the annual revenue.
Calculation
Lost revenue : Y8-Y12, 1.5 day 25% of the capacity on the building (200 x 25x 365) | 7500
Reputation and third party compensation risk: 1.5% of the annual revenue. | 27375

## Final in '000
Achieving Significant Cost Savings with PAM (£000)
| Annual cost | Net Present Value | Year 0 |  | Year 1 |  | Year 2 |  | Year 3 |  | Year 4 |  | Year 5 |  | Year 6 |  | Year 7 |  | Year 8 | Year 9
| Annual cost (Present Value) | Present Value | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15
In the absence of PAM
Purchase & Installation Cost |  | 963.243 | Year 0: 963.243
Annual maintenance cost* |  | 185.4209 |  | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757
Lost revenue due to downtime*** |  | 25.373 | Year 8: 7.5; Year 9: 7.5; Year 10: 7.5; Year 11: 7.5; Year 12: 7.5
Reactive service cost |  | 21.99 | Year 8: 6.5; Year 9: 6.5; Year 10: 6.5; Year 11: 6.5; Year 12: 6.5
Reputational risk and third-party compensation |  | 37.016 | Year 9: 27.375; Year 11: 27.375
Total | 102.7536 | 1233.0429 | 963.243 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 19.757 | 33.757 | 61.132 | 33.757 | 61.132 | 33.757
With the implementation of PAM
Purchase & Installation Cost |  | 963.243 | Year 0: 963.243
Annual maintenance cost ** |  | 263.5992 |  | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084
Total | 81.7895 | 1226.8422 | 963.243 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084 | 23.7084
Annual cost saving | 20.9641
Annual cost saving % | 20.4%
Interest 4%
Notes
Calculation is based on Mitsubishi Multi City HVRF
Discount rate: 4%
* Based on 3 maintenance visits per year @ $19,757/ year.
Std. life expectancy of the asset : 12 years
**Under PAM, the asset 's useful life is extended by 25%
Under PAM, maintenance will cost 20% more than std. maintenance cost
*** Expected downtime in the absence of PAM = Once a year from Y8 to Y12.
1.5 day per year
Reactive service cost : one additional maintenance call per year from Y8 TO Y12.
Reputation and third party compensation risk: 1.5% of the annual revenue.
Calculation
Lost revenue : Y8-Y12, 1.5 day 25% of the capacity on the building (200 x 25x 365) | 7500
Reputation and third party compensation risk: 1.5% of the annual revenue. | 27375